## Sheet1
Product Name | 0 | Current Pricing | Time Needed | Equipment Valuation | Default | Standard Location | Alternative Location | Equipment Valuation | Equipment Annual Calibration Cost | Accred. or NO | Product Code
Chart Recorder Pressure (10,000psi Max) | #REF! | 158 | 45 | 6120 | In House | Mobile lab | In house ONLY | 6000 | 600 |  | CAL CRCAL10K
Chart Recorder Pressure (30,000psi Max) |  | 197 | 45 | 6185 | In House | Mobile lab | In house ONLY | 6000 | 925 |  | CAL CRCAL30K
Chart Recorder Temperature |  | 299 | 60 | 18400 | In House | In House | In house ONLY | 18000 | 2000 |  | CALCRCALPRESSTEMP
Air Probe |  | 19 | 18 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALAIRPROBE
Ball Gage |  | 24 | 15 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALBALLGAGE
Borescope Block |  | 85 | 15 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALBORESCOPEBLK
Caliper, Up to 12" |  | 32 | 11.77 | 1256 | In House | In House | Dim. Field Lab | 1200 | 280 | 1 | CAL DCALCALIPER12
Caliper, Up to 24" |  | 49 | 13.77 | 1256 | In House | In House | Dim. Field Lab | 1200 | 280 | 1 | CAL DCALCALIPER24
Caliper, Up to 60" |  | 73 | 13.77 | 1256 | In House | In House | Dim. Field Lab | 1200 | 280 | 1 | CAL DCALCALIPER60
Crimper |  | 31.5 | 11.9 | 6100 | In House | In House | Dim. Field Lab | 6000 | 500 |  | CAL DCALCRIMPER
Crimper Die, Per Die |  | 18.5 | 11.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 |  | CAL DCALCRIMPERDIE
0
Depth Micrometer, Up to 12" |  | 56 | 18.5 | 2448 | In House | In House | Dim. Field Lab | 2400 | 240 | 1 | CAL DCALDEPTHMIC12
Depth Micrometer, Up to 6" |  | 56 | 18.5 | 2448 | In House | In House | Dim. Field Lab | 2400 | 240 | 1 | CAL DCALDEPTHMIC6
Indicator, Dial or Digital, Up to 6" |  | 32.5 | 16.4 | 6120 | In House | In House | Dim. Field Lab | 6000 | 600 | 1 | CAL DCALDIAL6
Hardness Tester |  | 169 | 30 | 720 | On Site ONLY | On Site ONLY | On Site ONLY | 600 | 600 |  | CAL DCALHARDNESSTESTER
Height Gage, Up to 24" |  | 42 | 18 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALHEIGHTGAGE24
Height Gage, Up to 48" |  | 56 | 18 | 2040 | On Site ONLY | On Site ONLY | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALHEIGHTGAGE48
Height Gage, Up to 72" |  | 69 | 18 | 2040 | On Site ONLY | On Site ONLY | Dim. Field Lab | 2000 | 200 |  | CAL DCALHEIGHTGAGE72
Inside Micrometer, Up to 12" |  | 32.5 | 13.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALIDMIC12
Inside Micrometer, Up to 36" |  | 44 | 13.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALIDMIC36
Inside Micrometer, Up to 72" |  | 56 | 13.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALIDMIC72
Intrimik, Up to 3" |  | 18.5 | 20 | 0 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALINTRIMIK3
Jeep Meter Holiday Detector up to 5kVDC |  | 0 | 60 | 48750 | In House | In House | In house ONLY | 48000 | 3750 |  | CAL ECALINSULTEST<5 (Jeep)
Length Standard, Up to 15" |  | 32.5 | 11.9 | 12024 | In House | In House | Dim. Field Lab | 12000 | 120 |  | CAL DCALLENGTHSTD15
Length Standard, Up to 30" |  | 44 | 11.9 | 12024 | In House | In House | Dim. Field Lab | 12000 | 120 |  | CAL DCALLENGTHSTD30
Length Standard, Up to 40" |  | 56 | 11.9 | 12024 | In House | In House | Dim. Field Lab | 12000 | 120 |  | CAL DCALLENGTHSTD40
Length Standard, Up to 6" |  | 26 | 11.9 | 12024 | In House | In House | Dim. Field Lab | 12000 | 120 |  | CAL DCALLENGTHSTD6
Level |  | 0 | 11.9 | 15000 | In House | In House | In house ONLY |  |  |  | CAL DCALLEVEL
OD Micrometer, Up to 12" |  | 28 | 13.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALMIC12
OD Micrometer, Up to 18" |  | 42 | 13.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALMIC18
OD Micrometer, Up to 30" |  | 49 | 13.9 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALMIC30
Adjustable Micrometer (0.1" to 12") |  | 28 | 14 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALADJMIC12
Adjustable Micrometer (12" to 24") |  | 34 | 17 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALADJMIC24
Adjustable Micrometer (24" to 40") |  | 42 | 20 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 | 1 | CAL DCALADJMIC40
Pitch Angle Calculator |  | 29 | 11.9 | 2000 | In House | In House | Dim. Field Lab | 2000 |  |  | CAL DCALPITCHANGLECALCULATOR
Plug Gage, Up to 2" |  | 29 | 14.9 | 18000 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALPLUGGAGE2
Plug Gage, Up to 6" |  | 38 | 15.5 | 105000 | In House | In House | In house ONLY |  |  |  | CAL DCALPLUGGAGE6
Plug Gage, Greater than 6" |  | 56 | 15.5 | 105000 | In House | In House | In house ONLY |  |  |  | CAL DCALPLUGGAGE6+
Profilometer Roughness Gage |  | 141 | 20 | 5000 | In House | In House | In house ONLY |  |  |  | CAL DCALPROFILOMETROUGHNES
Protractor, Digital |  | 38 | 11.9 | 2000 | In House | In House | Dim. Field Lab | 2000 |  |  | CAL DCALPROTRACTORDIGITAL
Protractor, Vernier |  | 49 | 11.9 | 2000 | In House | In House | Dim. Field Lab | 2000 |  |  | CAL DCALPROTRACTORVERNIER
Radius Gage, Per Leaf |  | 0 | 11.9 | 33000 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALRADIUSGAGE
Ring Gage, Up to 2" |  | 41 | 13.9 | 105000 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALRINGGAGE2
Ring Gage, Up to 4" |  | 49 | 14.9 | 105000 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALRINGGAGE6
Ring Gage, Greater than 6" |  | 58 | 15.9 | 105000 | In House | In House | In house ONLY |  |  |  | CAL DCALRINGGAGE6+
Steel Rule, Up to 144" |  | 82 | 20 | 33000 | In House | In House | In house ONLY |  |  |  | CAL DCALSTEELRULE144
Steel Rule, Up to 24" |  | 29 | 16.2 | 33000 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALSTEELRULE24
Steel Rule, Up to 72" |  | 44 | 17.2 | 33000 | In House | In House | Dim. Field Lab |  |  |  | CAL DCALSTEELRULE72
Step Gage |  | 29 | 15 | 25000 | In House | In House | In house ONLY |  |  |  | CAL DCALSTEPGAGE
Surface Plate, Per 1 sq. ft |  | 29 | 12 | 18260 | On Site Only | On Site ONLY | On Site ONLY | 18000 | 1300 | 1 | CAL DCALSURFACEPLATE1
Surface Plate, Up to 10 sq. ft |  | 169 | 120 | 18260 | On Site Only | On Site ONLY | On Site ONLY | 18000 | 1300 | 1 | CAL DCALSURFACEPLATE10
Tape Measure, Up to 100' |  | 113 | 22 | 10260 | In House | In House | In house ONLY | 10000 | 1300 |  | CAL DCALTAPEMEASURE100
Tape Measure, Up to 25' |  | 29 | 15 | 10260 | In House | In House | Dim. Field Lab | 10000 | 1300 |  | CAL DCALTAPEMEASURE25
Tape Measure, Up to 50' |  | 58 | 18.5 | 10260 | In House | In House | In house ONLY | 10000 | 1300 |  | CAL DCALTAPEMEASURE50
Thread Plug, Up to 2" |  | 38 | 15 | 17000 | In House | In House | Dim. Field Lab | 17000 |  |  | CAL DCALTHREADPLUG2
Thread Plug, Up to 4" |  | 38 | 17 | 17000 | In House | In House | Dim. Field Lab | 17000 |  |  | CAL DCALTHREADPLUG6
Thread Plug, Greater than 6" |  | 49 | 19 | 17000 | In House | In House | In house ONLY | 17000 |  |  | CAL DCALTHREADPLUG6+
Thread Ring, Up to 2" |  | 29 | 24 | 17000 | In House | In House | Dim. Field Lab | 17000 |  |  | CAL DCALTHREADRING2
Thread Ring, Up to 6" |  | 32.5 | 24 | 17000 | In House | In House | In house ONLY | 17000 |  |  | CAL DCALTHREADRING6
Thread Ring, Greater than 6" |  | 59 | 24 | 17000 | In House | In House | In house ONLY | 17000 |  |  | CAL DCALTHREADRING6+
(ERAD)Electronic Torque Wrench 700 ft/lbs Max |  | 279 | 40.2 | 23400 | In House | Mobile lab | In house ONLY | 23000 | 2000 | 1 | CAL ECAL.7K
(ERAD)Electronic Torque Wrench 10,000 ft/lbs Max |  | 279 | 40.2 | 23400 | In house ONLY | In House | In house ONLY | 23000 | 2000 | 1 | CAL ECAL10K
(ERAD)Electric Torque Wrench 2,000 ft/lbs Max |  | 279 | 40.2 | 23400 | In House | Mobile lab | In house ONLY | 23000 | 2000 | 1 | CAL ECAL2K
(ERAD)Electric Torque Wrench 5,000 ft/lbs Max |  | 279 | 40.2 | 23400 | In House | Mobile lab | In house ONLY | 23000 | 2000 | 1 | CAL ECAL5K
Audiometer |  | 147 | 25 | 1070 | In House | In House | In house ONLY | 1000 | 350 |  | CAL ECALAUDIOMETER
Battery Tester |  | 286 | 45 | 23400 | In House | In House | In house ONLY | 23000 | 2000 |  | CAL ECALBATTERY
Battery Charger |  | 119 | 40 | 18156 | In House | In House | In house ONLY | 17800 | 1780 |  | CAL ECALBATTERYCHARGER
Electrical Clamp Meter (Amp Clamp) |  | 102 | 23.9 | 22015 | In House | Mobile lab | Dim. Field Lab | 21495 | 2600 | 1 | CAL ECALCM
Conductivity Meter |  | 129 | 20 | 5050 | In House | In House | Dim. Field Lab | 5000 | 250 |  | CAL ECALCONDUCTIVITYMETER
Decade Box |  | 119 | 45 | 16800 | In House | In House | In house ONLY | 16500 | 1500 |  | CAL ECALDECADEBOX
Digital Thermometer |  | 208 | 60 | 12200 | In House | In House | In house ONLY | 12000 | 1000 |  | CAL ECALDIGITALTHERMOMETER
Dry Block Calibrator (Temp.) |  | 369 | 120 | 5160 | In House | In House | In house ONLY | 5000 | 800 |  | CAL ECALDRYBLOCKCALIBRATOR
Ground Testers |  | 274 | 25 | 24685 | In House | In House | In house ONLY | 24235 | 2250 |  | CAL ECALGROUNDTESTER
Insulation Tester, 1kvDC to 5kvDC |  | 119 | 35 | 24685 | In House | In House | In house ONLY | 24235 | 2250 |  | CAL ECALINSULTEST<5
Insulation Tester, Greater than 5kvDC |  | 174 | 35 | 10170 | In House | In House | In house ONLY | 10000 | 850 |  | CAL ECALINSULTEST>5
IR (Infrared Thermometer) |  | 152 | 60 | 24365 | In House | In House | In house ONLY | 23795 | 2850 | 1 | CAL ECALIR
Insulation Tester, up to 1kvDC |  | 119 | 23.9 | 30570 | In House | Mobile lab | In house ONLY | 30000 | 2850 | 1 | CAL ECALINSULTEST
Locator |  | 258 | 45 | 24685 | In House | In House | In house ONLY | 24235 | 2250 |  | CAL ECALLOCATOR
Digital Multimeter |  | 103 | 23.9 | 24685 | In House | Mobile lab | Dim. Field Lab | 24235 | 2250 | 1 | CAL ECALMM
Digital Multimeter, Bench Top (<4.5 Digit) |  | 314 | 90 | 24685 | In House | In House | Dim. Field Lab | 24235 | 2250 | 1 | CAL ECALMULTIMETERBENCHTOP
Gas Detectors |  | 119 | 20 | 620 | In House | In House | In house ONLY | 500 | 600 |  | CAL ECALO2CAL
Simple Electrical Tester (On Site) (i.e. Phase Meter) |  | 74 | 18 | 24480 | In House | Mobile lab | Dim. Field Lab | 24000 | 2400 | 1 | CAL ECALPHASEMETER
Process Meter (Process Calibrator) |  | 342 | 40 | 48800 | In House | In House | In house ONLY | 48000 | 4000 | 1 | CAL ECALRTDPROCESSCALIBRATOR
Oscilloscope (O-Scope) up to 1100Mhz |  | 369 | 180 | 48800 | In House | In House | In house ONLY | 48000 | 4000 |  | CAL ECALSCOPE
Thermal Imaging Cameras (IR measure ONLY) |  | 453 | 60 | 30570 | In House | In House | In house ONLY |  |  |  | CAL ECALTHERMALCAMERA
Thermocouple Thermometer |  | 208 | 25 | 24685 | In House | Mobile lab | Dim. Field Lab |  |  |  | CAL ECALTHERMOCOUPLEMETER
Thickness Cal Standard |  | 13 | 10 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 |  | CAL ECALTHICKNESSCALSTANDARD
Thickness Gage |  | 62 | 15 | 2040 | In House | In House | Dim. Field Lab | 2000 | 200 |  | CAL ECALTHICKNESSGAGE
Ultrasonic Thickness Tester |  | 119 | 30 | 2000 | In House | In House | Dim. Field Lab |  |  |  | CAL ECALULTRASONICTHICKNES
Welder |  | 113 | 50 | 7050 | On Site Only | On Site ONLY | On Site ONLY | 7000 | 250 |  | CAL ECALWELDER
Force Gage Up to 500 |  | 79 | 20 | 6000 | In House | In House | In house ONLY | 6000 |  |  | CAL FCALFORCEGAGE
Force Gage Up to 1K |  | 102 | 20 | 6050 | In House | In House | In house ONLY | 6000 | 250 |  | CAL FCALFORCEGAGE1
Hydraulic Pressure Gauge (30,000psi Max) |  | 169 | 14.1 | 12000 | In House | Mobile lab | In house ONLY | 12000 |  | 1 | CAL GCAL30K-H
Hydraulic Pressure Gauge (10,000psi Max) |  | 129 | 14.1 | 12000 | In House | Mobile lab | Dim. Field Lab | 12000 |  | 1 | CAL GCAL-H
Pneumatic Pressure Gauge, Up to 300psi |  | 129 | 15.1 | 15060 | In House | In House | Dim. Field Lab | 15000 | 300 |  | CAL GCALPNEUMATIC300
Pneumatic Pressure Gauge, Up to 3000psi |  | 169 | 15.1 | 15060 | In House | In House | Dim. Field Lab | 15000 | 300 |  | CAL GCALPNEUMATIC3000
Torque Multiplier 10,000 ft/lbs (output) |  | 279 | 12.9 | 24500 | In House | Mobile lab | In house ONLY | 24500 |  | 1 | CAL GMCAL10K
Torque Multiplier 12,000 ft/lbs (output) |  | 279 | 12.9 | 24500 | In House | Mobile lab | In house ONLY | 24500 |  | 1 | CAL GMCAL12K
Torque Multiplier 2000 ft/lbs (output) |  | 279 | 12.9 | 24500 | In House | Mobile lab | In house ONLY | 24500 |  | 1 | CAL GMCAL2K
Torque Multiplier 5000 ft/lbs (output) |  | 279 | 12.9 | 24500 | In House | Mobile lab | In house ONLY | 24500 |  | 1 | CAL GMCAL5K
Hydraulic Torque Wrench 700 ft/lbs (size 0.7) |  | 279 | 17.4 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL HCAL.7K
Hydraulic Torque Wrench 10,000 ft/lbs (size 10) |  | 279 | 18.4 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL HCAL10K
Hydraulic Torque Wrench 20,000 ft/lbs (size 20) |  | 279 | 19.4 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL HCAL20K
Hydraulic Torque Wrench 25K ft/lbs (size 25 above) |  | 279 | 20.4 | 23000 | In House | In House | In house ONLY | 23000 |  | 1 | CAL HCAL25K
Hydraulic Torque Wrench 2000 ft/lbs (size 2) |  | 279 | 17.4 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL HCAL2K
Hydraulic Torque Wrench 5000 ft/lbs (size 4) |  | 279 | 18 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL HCAL5K
Hose Test |  | 52 | 30 | 0 | In House | JACKPOT | WINNER | 0 | 0 |  | CAL HOSETEST
Hose Testing Unit |  | 2232 | 120 | 0 | In House | JACKPOT | WINNER | 0 | 0 |  | CAL HOSETR
Manual Torque Wrench 100 ft/lbs Max |  | 74 | 14.8 | 20655 | In House | Mobile lab | Dim. Field Lab | 20655 |  | 1 | CAL MCAL.1K
Manual Torque Wrench 250 ft/lbs Max |  | 92 | 14.8 | 20655 | In House | Mobile lab | Dim. Field Lab | 20655 |  | 1 | CAL MCAL.25K
Manual Torque Wrench 700 ft/lbs Max |  | 103 | 14.8 | 20655 | In House | Mobile lab | Dim. Field Lab | 20655 |  | 1 | CAL MCAL.7K
Manual Torque Wrench 2000 ft/lbs Max |  | 119 | 14.8 | 20655 | In House | Mobile lab | In house ONLY | 20655 |  | 1 | CAL MCAL2K
Pneumatic Wrench 700 ft/lbs Max |  | 279 | 32.1 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL PCAL.7K
Pneumatic Wrench 2000 ft/lbs Max |  | 279 | 32.1 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL PCAL2K
Pneumatic Wrench 5000 ft/lbs Max |  | 279 | 32.1 | 23000 | In House | Mobile lab | In house ONLY | 23000 |  | 1 | CAL PCAL5K
Pneumatic Wrench 10,000 ft/lbs Max |  | 279 | 32.1 | 23000 | In House | In House | In house ONLY | 23000 |  | 1 | CAL PCAL10K
Pressure Calibrator |  | 336 | 40 | 29070 | In House | In House | In house ONLY | 28500 | 2850 |  | CAL PCALPRESSURECALIBRATOR
Pressure Module |  | 231 | 40 | 16300 | In House | In House | In house ONLY | 16000 | 1500 |  | CAL PCALPRESSUREMODULE
Pressure Transducer |  | 231 | 35 | 16300 | In House | In House | In house ONLY | 16000 | 1500 |  | CAL PCALPRESSURETRANSDUCER
Optical Micrometer |  | 0 | 15 | 2300 | In House | In House | Dim. Field Lab | 2000 | 1500 |  | CAL DCALOPTICALMICROMETER
Rate Daily |  | 0 |  | 0 | [6 empty] | CAL RATE DAILY
Pneumatic Screw Driver (Clutch Type, Single Point) |  | 0 | 25 | 10200 | In House | In House | In house ONLY | 10000 | 1000 |  | CAL PCALPNEUMATICSCREWDRIVER
Scale 500 lbs |  | 408 | 30 | 2500 | On Site Only | On Site ONLY | On Site ONLY | 2500 |  |  | CAL SCAL.5K
Spring Scale |  | 108 | 30 | 2500 | In House | In House | In house ONLY | 2500 |  |  | CAL SCALSPRINGSCALE
Weight Scale Up to 150lbs |  | 113 | 30 | 2500 | In House | In house | In house ONLY | 2500 |  |  | CAL SCALWEIGHTSCALE150
Torque Transducer Cal up to 500 ft/lbs |  | 341 | 180 | 12035 | In House | In House | In house ONLY | 12000 | 175 | 1 | CAL TCAL <0.5K
Torque Transducer up to 1,000 ft/lbs |  | 747 | 180 | 13100 | In House | In House | In house ONLY | 13000 | 500 | 1 | CAL TCAL <1K
Torque Transducer up to 20,000 ft/lbs |  | 1119 | 180 | 20400 | In House | In House | In house ONLY | 20000 | 2000 | 1 | CAL TCAL <20K
Torque Transducer up to 5,000 ft/lbs |  | 1091 | 180 | 14650 | In House | In House | In house ONLY | 14500 | 750 | 1 | CAL TCAL <5K
Tensioner Pressure |  | 151 | 25 | 15037 | In House | In House | In house ONLY | 15000 | 185 |  | CAL TCAL-P
Paint Thickness Meter |  | 0 | 12.8 | 530 | In House | In House | Dim. Field Lab | 500 | 150 |  | CAL DCALPAINTTHICKNESSMETE
Torque Indicator |  | 0 | 120 | 0 | In House | In House | In house ONLY |  |  |  | CAL TORQUE INDICATOR
Cable Tensiometer w/ Chart |  | 253 | 60 | 5138 | In House | In House | In house ONLY | 5000 | 690 |  | CAL TCALCABLETENSIOMETER
Cable Tensiometer w/o Chart |  | 369 | 90 | 5138 | In House | In House | In house ONLY | 5000 | 690 |  | CAL TCALCABLETENSIOMETERWO
Tachometer |  | 0 | 30 | 24920 | In House | In House | In house ONLY | 24350 | 2850 |  | CAL ECALTACHOMETER
Power Supply |  | 174 | 45 | 16370 | In House | In House | In house ONLY | 16000 | 1850 |  | CAL ECALPOWERSUPPLY
(Oven)Temperature Uniformity Survey, 1 Point (TUS) |  | 0 | 180 | 28700 | On Site Only | On Site ONLY | On Site ONLY | 28000 | 3500 |  | CAL ECALTUS 1PT
(Oven)Temperature Uniformity Survey, 2 Point (TUS) |  | 0 | 260 | 28700 | On Site Only | On Site ONLY | On Site ONLY | 28000 | 3500 |  | CAL ECALTUS 2PT
(Oven)Temperature Uniformity Survey, 3 Point (TUS) |  | 0 | 360 | 28700 | On Site Only | On Site ONLY | On Site ONLY | 28000 | 3500 |  | CAL ECALTUS 3PT
(Oven)Temperature Controller System Accuracy Test (SAT) |  | 0 | 90 | 2400 | On Site Only | On Site ONLY | On Site ONLY | 2000 | 2000 |  | CAL ECALSAT1PT
Angle Block |  | 0 | 15 | 3800 | In House | in House | Dim. Field Lab | 3500 | 1500 |  | DCAL Angle Block
Power Analyzer |  | 242 | 70 | 24990 | In House | In House | In house ONLY | 24500 | 2450 |  | CAL ECALPOWERANALYZER
Soldering Station |  | 64 | 20 | 56 | In House | In House | In house ONLY | 40 | 80 |  | CAL ECALSOLDERSTATION
Pin Gage |  | 0 | 0.1694 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALPINGAGE
Optical Comparator |  | 0 | 45 | 1530 | On Site Only | On Site ONLY | On Site ONLY | 1500 | 150 |  | CAL DCALOPTICALCOMPARATOR
Static tester (ESD Mat/ ESD Wrist Strap) |  | 62 | 15 | 16320 | In House | In House | In house ONLY | 16000 | 1600 |  | CAL ECALESDSTESTER
Micro/Milli-ohm Meter |  | 102 | 30 | 8160 | In House | In House | In house ONLY | 8000 | 800 |  | CAL ECALMICRO-OHMMETER
Hipot Tester |  | 113 | 30 | 28560 | In House | In House | In house ONLY | 28000 | 2800 |  | CAL ECALHIPOTTESTER
Stopwatch |  | 102 | 25 | 7140 | In House | In House | In house ONLY | 7000 | 700 |  | CAL ECALSTOPWATCH
Panel Meter |  | 74 | 28 | 24990 | In House | In House | In house ONLY | 24500 | 2450 |  | CAL ECALPANELMETER
DAQ Data Aquisistion |  | 141 | 120 | 24990 | In House | In House | In house ONLY | 24500 | 2450 |  | CAL ECALDAQ-I.H
Combination Square |  | 59 | 15 | 5100 | In House | In House | Dim. Field Lab | 5000 | 500 |  | CAL DCALCOMBINATIONSQUARE
Bore Gage up to 3" |  | 0 | 12.9 | 10200 | In House | In House | Dim. Field Lab | 10000 | 1000 |  | CAL DCALBOREGAGEUNDER3"
Roughness Standard |  | 92 | 15 | 3570 | In House | In House | In house ONLY | 3500 | 350 | 1 | CAL DCALROUGHNESSSTD
Taper Gage |  | 26 | 15 | 5100 | In House | In House | Dim. Field Lab | 5000 | 500 |  | CAL DCALTAPERGAGE
Thermocouple |  | 0 | 60 | 12750 | In House | In House | In house ONLY | 12500 | 1250 |  | CAL TCALTHERMOCOUPLE
Loop Calibrator (4-20mA) |  | 229 | 25 | 48800 | In House | In House | Dim. Field Lab | 48000 | 4000 | 1 | CAL ECALmALOOPCALIBRATOR
Loop Calibrator (Frequency) |  | 229 | 90 | 48800 | In House | In House | In house ONLY | 48000 | 4000 | 1 | CAL ECALFREQLOOPCALIBRATOR
1-2-3 Block (123) |  | 24 | 15 | 15300 | In House | In House | Dim. Field Lab | 15000 | 1500 |  | CAL DCAL1-2-3BLOCK
2-4-6 Block (246) |  | 0 | 15 | 15300 | In House | In House | Dim. Field Lab | 15000 | 1500 |  | CAL DCAL2-4-6BLOCK
Cylindrical Square |  | 0 | 30 | 6120 | In House | In House | In house ONLY | 6000 | 600 |  | CAL DCALCYLINDERICALSQUARE
Screw Pitch Gage |  | 5 | 0.32 | 6120 | In House | In House | Dim. Field Lab | 6000 | 600 |  | CAL DCALSCREWPITCHGAGE
Threadwire Set |  | 18.5 | 15 | 6120 | In House | In House | Dim. Field Lab | 6000 | 600 |  | CAL DCALTHREADWIRESET
Pee Dee Wire set |  | 18.5 | 10 | 6120 | In House | In House | Dim. Field Lab | 6000 | 600 |  | CAL DCALPEEDEEWIRESET
Chamfer Gage |  | 24 | 10 | 6120 | In House | In House | Dim. Field Lab | 6000 | 600 |  | CAL DCALCHAMFERGAGE
Remote |  | 0 |  | 0 | [6 empty] | CAL RCAL
3 Phase Grounding Cables Remote |  | 0 |  | 0 | [6 empty] | CAL RCAL3PHASEGROUND
Audiometers Remote |  | 369 |  | 0 | [6 empty] | CAL RCALAUDIOMETER
Electrical Clamp Meter Remote |  | 0 |  | 0 | [6 empty] | CAL RCALCM
Electrical Digital Caliper Remote |  | 15 |  | 0 | [6 empty] | CAL RCALDC
Fiber Optic Meter Remote |  | 369 |  | 0 | [6 empty] | CAL RCALFIBEROPTICMETER
Fiber Optic Source Remote |  | 279 |  | 0 | [6 empty] | CAL RCALFIBEROPTICSOURCE
Ground Testers Remote |  | 0 |  | 0 | [6 empty] | CAL RCALGROUNDTESTER
High Voltage Digital Indicators Remote |  | 0 |  | 0 | [6 empty] | CAL RCALHVDVI
High Voltage Protective Extending Sticks Remote |  | 0 |  | 0 | [6 empty] | CAL RCALHVEXTENDO
High Voltage Gloves Class 0 Remote |  | 34 |  | 0 | [6 empty] | CAL RCALHVGLOVESCLASS0
High Voltage Gloves Class 1 Remote |  | 34 |  | 0 | [6 empty] | CAL RCALHVGLOVESCLASS1
High Voltage Gloves Class 2 Remote |  | 34 |  | 0 | [6 empty] | CAL RCALHVGLOVESCLASS2
High Voltage Gloves Class 3 Remote |  | 41 |  | 0 | [6 empty] | CAL RCALHVGLOVESCLASS3
High Voltage Gloves Class 4 Remote |  | 41 |  | 0 | [6 empty] | CAL RCALHVGLOVESCLASS4
High Voltage Protective Stick Remote |  | 0 |  | 0 | [6 empty] | CAL RCALHVSHOTGUNSTICK
Electrical Infrared Meter Remote |  | 0 |  | 0 | [6 empty] | CAL RCALIR
Electrical Insulation Tester Remote |  | 0 |  | 0 | [6 empty] | CAL RCALITE
Laser Shaft Alignment System |  | 0 | 45 | 25000 | In House | Mobile Lab |  | 25000 | 500 |  | CAL ECALSHAFTALIGNMENTSYSTEM
Electrical Multimeter Remote |  | 0 |  | 0 | [6 empty] | CAL RCALMM
Shaft Alignment Fixture Remote |  | 1003 |  | 0 | [6 empty] | CAL RCALSHAFTHOG
Single Phase Ground Cables Remote |  | 0 |  | 0 | [6 empty] | CAL RCALSINGLEPHASEGROUND
Electrical Thermometer Probe Remote |  | 0 |  | 0 | [6 empty] | CAL RCALTHP
Electrical Single Input Thermometer Remote |  | 0 |  | 0 | [6 empty] | CAL RCALTHS
Transformer Tester Remote |  | 369 |  | 0 | [6 empty] | CAL RCALTRANSFORMERTESTER
Digital Transformer Ratio Meters Remote |  | 0 |  | 0 | [6 empty] | CAL RCALTRNSFMRRATIOMETER
Hydraulic Gauge Remote |  | 0 |  | 0 | [6 empty] | CAL RGCAL-H
Adjustable Parallel |  | 0 | 15 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALADJPARALLEL
Angle Gage, Per Leaf |  | 9.5 | 3 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALANGLEGAGE
Brinell Scope |  | 0 | 20 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALBRINELLSCOPE
Combination Square |  | 59 | 15 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALCOMBINATIONSQUARE
Drift Gage, Up to 2" |  | 47 | 15 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALDRIFTGAGE2
Drift Gage, Up to 4" |  | 52 | 15 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALDRIFTGAGE4
Drift Gage, Greater than 4" |  | 64 | 15 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALDRIFTGAGE4+
Durometer |  | 59 | 30 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALDUROMETER
Flatness Block |  | 29 | 15 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALFLATNESSBLOCK
0
Laser Level |  | 0 | 20 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALLASERLEVEL
Lead Setting Block |  | 42 | 20 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALLEADSETTINGBLOCK
Pee Dee Wire Set |  | 18.5 | 20 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALPEEDEEWIRESET
Telescoping Gage |  | 19.5 | 20 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALTELESCOPINGGAGE
Thread Roll Set |  | 0 | 20 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALTHREADROLLSET
V-Block |  | 29 | 20 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DCALV-BLOCK
Documentation Fee |  | 18.5 | 2 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL DOCUMENTATION FEE
Motor Tester |  | 208 | 60 | 15100 | In House | In House | In house ONLY | 15000 | 500 |  | CAL ECALMOTORTESTER
Ruler Medium (4" to 35") |  | 41 | 20 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL RULER MEDIUM
Partner Program |  | 0 |  | 0 | [6 empty] | CAL PARTNER PROGRAM
Remote Partner Program |  | 0 |  | 0 | [6 empty] | CAL PARTNER PROGRAM REMOTE
Rate Daily-In House |  | 0 |  | 0 | [6 empty] | CAL RATE DAILY-I.H
Manual Preset 100 ft/lbs Max |  | 74 | 13.8 | 20655 | In House | Mobile lab | Dim. Field Lab | 20655 |  | 1 | CAL MPCAL.1K
Manual Preset 250 ft/lbs Max |  | 92 | 13.8 | 20655 | In House | Mobile lab | Dim. Field Lab | 20655 |  | 1 | CAL MPCAL.25K
Manual Preset 700 ft/lbs Max |  | 102 | 13.8 | 20655 | In House | Mobile lab | Dim. Field Lab | 20655 |  | 1 | CAL MPCAL.7K
Manual Preset 2000 ft/lbs Max |  | 119 | 13.8 | 20655 | In House | Mobile lab | In house ONLY | 20655 |  | 1 | CAL MPCAL2K
Simple Electrical Standard (In House) |  | 74 | 18 | 20655 | In House | In House | In house ONLY | 20655 |  |  | CAL ECALSIMPLEELECTRICALTESTER
Calibration Hydraulic Gauge High Accuracy Grade 4A 0.1 or Lower Accuracy |  | 169 |  |  | In House | Mobile lab | In house ONLY |  |  |  | CAL GCAL-HA-H
Calibration Hydraulic Gauge High Accuracy Grade 4A 0.1 or Lower Accuracy-In House |  | 0 |  |  | In House | In House | In house ONLY |  |  |  | CAL GCAL-HA-H-I.H
Calibration Pneumatic Gauge High Accuracy Grade 4A 0.1 or Lower Accuracy |  | 169 |  |  | In House | In House | Dim. Field Lab |  |  |  | CAL GCAL-HA-P
Calibration Pneumatic Gauge High Accuracy Grade 4A 0.1 or Lower Accuracy-In House |  | 169 |  |  | In House | In House | In house ONLY |  |  |  | CAL GCAL-HA-P-I.H
Calibration AC/DC Surge/Hipot Tester 10kv+ |  | 279 | 60 |  | In House | In House | In house ONLY |  |  |  | CAL ECALHIPOTTESTER 10Kv+
Feeler Gage (per blade) |  | 0 | 0.1694 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALFEELERGAGE
Straight line measurement (linear) |  | 0 | 15 | 15100 | In House | In House | Dim. Field Lab | 15000 | 500 |  | CAL DCALLINEARMEASURE
Depth Micrometer, Up to 24" |  | 69 | 18.5 | 2448 | In House | In House | Dim. Field Lab | 2400 | 2400 | 1 | CAL DCALDEPTHMIC24
Digital Multimeter, Bench Top (>4.5 Digit) |  | 314 | 90 | 48800 | In House | In House | In house ONLY | 48000 | 4000 | 1 | CAL ECALMULTIMETERBENCHTOP
Thread Plug, Up to 6" |  | 38 | 17 | 17000 | In House | In House | In house ONLY | 17000 |  |  | CAL DCALTHREADPLUG6
Ring Gage, Up to 6" |  | 49 | 14.9 | 105000 | In House | In House | In house ONLY | 17000 |  |  | CAL DCALRINGGAGE6
Inspection Fall Equipment, Harness |  | 0 | 15 | 0 | In House | Mobile lab | Dim. Field Lab |  |  |  | ISP PPEHARNESS
Inspection Fall Equipment, Lanyard |  | 0 | 10 | 0 | In House | Mobile lab | Dim. Field Lab |  |  |  | ISP PPELANYARD
Inspection Fall Equipment, Lift Strap |  | 16 | 10 | 0 | In House | Mobile lab | Dim. Field Lab |  |  |  | ISP PPELIFTSTRAP